“Building Checklist”

##### Revision 04/12/2008

Do I/we know when we want to start construction?   Estimated Date(s)____________

Do I/we know when our construction should be completed?   Estimated Date(s)______________

Do I/we know what structure(s) that will be built first?   Home____  Hangar____  Both____

Do I/we meet the set back distances on the property?      Yes_____        No_____  Minimum 125 feet from runway centerline and 20 feet from all other taxiway boundaries and property line boundaries.

Do I/we have a Lot Layout Plan to supply to the HMA ACC?         Yes_____          No_____

Example; Building locations on lot and relation to each other, driveway locations, etc.

Does my/our home plans meet the minimum 1800 sq. foot for a single story and/or at least minimum 1300 sq. foot first floor with the balance of at least 500 sq. feet on the second story of a two-story residence.   Yes_____       No_____

Does my/our building (s) comply with the maximum 2 ½ stories restriction?  Yes_____       No_____

Please Note; A two-story with a basement is considered a 2 ½ story building.

Does my/our hangar area not exceed the maximum 2 ½ times the sq. footage of our residence?  Yes_____       No_____

Do I/we have exterior building(s) descriptions to supply to the HMA ACC?    Yes_____       No_____

Example;  Type constructions, brick, log, redwood, metal, any rock trims or special accents etc.

Does my/our building plan supply HMA ACC the building(s) roof type (s) ?   Yes_____       No_____

Does my/our building plan supply HMA ACC the exterior colors of the building(s), including walls, roofs and trims?   Yes_____       No_____

Do I/we understand that any exterior or visual change (s) to an approved building plan will require a letter of explanation to HMA ACC and an amended approval for those changes?   Yes_____       No_____  Example; Change exterior siding from  ½ Logs to Redwood, change locations of building(s), changing of color(s), etc.

Are my/our building (s) engineered to local building specifications?  Yes_____       No_____

Design Code:     International Building Code 2000 (IBC 00) or later

### Dead Load:                     2 PSF

## Roof Live Load:              20 PSF

Frame Live Load:           20 PSF

Collateral Load:              As needed for special structural loads

Ground Snow Load:        20 PSF

Roof Snow Load:             20 PSF

Wind Load:                     Velocity:           90 MPH

Seismic Load:               Ss:   0.465      Fa:   1.4        Coefficient:    0.65

Other Loads:                 As needed for specific requirements

Will any of my/our building (s) have a roof design over an 8 and 12 pitch on a standard roof and/or more than a 4 and 12 on a domed roof of a WWII type hangar construction.  Yes____       No_____  Please explain__________________________________

______________________________________________________

Does my/our plan have any out buildings, other than our aircraft hangar, needing special approval from the HMA ACC?   Yes_____       No_____ Please explain__________________________________

______________________________________________________

Example; Guest House, Pool House, Barn, Gazebo (s),etc. Please Note: Aircraft hangars are not considered out buildings.

Are any of my/our building (s) types of the prohibited types?   No_____       No_____

Example;  Quonset hut, slant walls, silos or vertical lofts, open T-hangars, structure(s) and/or roof(s) that have a galvanized metal appearance, home/hangars built of the same structure that the hangar is the prominent feature in appearance.

Do my/our building plan include building of any pens, fencing, walls and/or ponds that need special approval from HMA ACC?   Yes_____       No_____ Reference HMA CCR part 3 & 11.

Please explain; _________________________________________

_____________________________________________________

Do I/we know where the driveway(s) will attach the taxiway(s) and is that shown with dimensions on my/our overall site plan?   Yes_____   No_____

Do I/we know what material the driveway will be constructed?   Yes_____       No_____  Type_______

Example; Asphalt, Concrete, etc.

Will I/we be sharing a driveway with an adjacent neighbor?   Yes_____    No_____

If Yes, please explain and provide to HMA ACC a signed access agreement letter from the other property owner (s) indicating the dimensions of that easement (s).

Do I/we understand that it is our responsibility, during our constructions to see that the construction gate is closed and locked daily?   Yes_____       No_____

This duty may be delegated to contractors, but we still are responsible for their actions

Do I/we understand that our builder or contractors cannot infringe upon another property owner(s) without written permission?   Yes_____       No_____

Example; Store materials, drive upon, park upon, etc

Do I/we have any water runoff drainage and/or ecological or environmental issues in our plans that will affect others that need special considerations?  Yes_____       No_____

Please explain; _______________________________________

Do I/we have any special building features planned that would require separate approval(s) from HMA ACC?  Yes_____       No_____  Explain_______________________________________

______________________________________________________

Do I/we have plans that are in harmony with the surrounding area and existing structures?   Yes_____   No_____

Have I/we or our contractor(s) contacted the utility companies about our connections?   Yes_____       No_____

#### Electric; Petit Jean Electric Cooperative 501-745-2493

#### Telephone & DSL Internet; Arkansas Telephone 501-745-2114

#### Water; Community Water System 501-825-7294

#### Propane Provider; Ferrell Gas 501-745-2405

Have I/we or our contractor made plans for the septic system?    Yes_____      No_____

Will my/our current planned septic system handle my/our ultimate build-out/development on the property?

Yes_____      No_____

Examples; All Structures - Home, Hangar and Apartment.

Note: Building a small septic system first(Example: Hangar only), planning to build a larger one later during your home construction (on some properties) could take up some of the property needed for the latter system and could be costly to correct.  Please confer with your engineer or contractor.

Do I/we understand that temporary structure(s) during the building process, without an extension issued for good cause from the HMA ACC, may only remain on site for the earliest, a maximum of one year (365 days) or until completion of construction?   Yes_____       No_____ Examples; Construction trailers, portable buildings including construction type, temporary aircraft storage, etc.

Do I/we understand that for ANY reason that our construction (s) must make an un-scheduled halt (construction process dormant) for more than 30 days, HMA ACC must be notified immediately in writing with an explanation and a proposed restart date?  Yes_____       No_____   Please Note; This could result in removal of all temporary structures, construction trailers, building materials, etc., and special site cleanup until construction resumes.

Do I/we understand that temporary structure(s), any construction materials and equipment must observe the clear zones of the runway and all taxiways ?   Yes_____       No_____

Example; All remaining outside of 125 feet from runway centerline and 20 feet from a taxiway(s) edge.

Do I /we know it is our responsibility to see that our contractor(s) are in possession of an HMA “Contractors Checklist” and to see that they and their sub-contractors comply?   Yes_____       No_____     HMA ACC strongly recommends all Builders place a SB-2 type (Gray)gravel down on all areas of vehicle operations at the very start of constructions.  Doing this saves much dirt and mud cleanup from our roadways and taxiways.

Do I/we know we must have our permit of construction from HMA ACC prior to any constructions starting?   Yes_____       No_____

Do I/we have our permit of construction from HMA ACC?  Application Date_______  Date Issued_______

___________________                   ___________________

Signature                                           Signature

We hope you find this “Checklist” as a helpful tool in providing and aiding you in streamlining your process of getting started,  “Enjoying your life on the Mountain”.

Notes: